## Questionnaire
HPS to LED Comparison
EXISTING LIGHTS
|  | Question | Preliminary Answer | Confirmed Answer | Notes / Comments
| Veg Area |  |  |  | From Independence LED Lighting
1 |  | What is the estimated size of the area? (sq ft) | 25 | 25
2 |  | How many fixtures are in the area? | 1 | 1
3 |  | What brand and model of fixture are in the area? | Gavita 1000 DE | Gavita 1000 DE
4 |  | What brand and model of lamp are in the area fixtures? | Gavita 1000W HPS | Gavita 1000W HPS
5 |  | What is the nameplate wattage of the lamp? (W) | 1000 | 1000
6 |  | What is the actual draw of the lamp? (W) | 1220 | 1220
7 |  | What is the average hours per day the lamps are on in the area? | 18 | 18
8 |  | What is the average number of days / year that the lamps are on in the area? | 365 | 365
9 |  | What is the ambient temperature in the area? (degrees F) | 79 | 79
10 |  | What is the standard # of hours that lamps run before changing? | 4000 | 4000 | Philips claims 5k, but growers change more often
11 |  | What is the nameplate PPFD intensity? (µmol/sec) | 2000 | 2000 | Philips lamp
12 |  | What is the average distance between canopy and lamp in the area? (inches) | 36 | 36 | This is an average of 3-4-5 ft placements
13 |  | What is the PPFD intensity on the canopy? (µmol) | 1000 | 1000 | see Gavita specs and lighting plans
14
15
16 | Flower Area
17 |  | What is the estimated size of the area? (sq ft) | 25 | 25
18 |  | How many fixtures are in the area? | 1 | 1
19 |  | What brand and model of fixture are in the area? | Gavita 1000 DE | Gavita 1000 DE
20 |  | What brand and model of lamp are in the area fixtures? | Gavita 1000W HPS | Gavita 1000W HPS
21 |  | What is the nameplate wattage of the lamp? (W) | 1000 | 1000
22 |  | What is the actual draw of the lamp? (W) | 1220 | 1220
23 |  | What is the average hours per day the lamps are on in the area? | 12 | 12
24 |  | What is the average number of days / year that the lamps are on in the area? | 330 | 330
25 |  | What is the ambient temperature in the area? (degrees F) | 79 | 79
26 |  | What is the standard # of hours that lamps run before changing? | 4000 | 4000 | Philips claims 5k, but growers typically change more often
27 |  | What is the nameplate PPFD intensity? (µmol/sec) | 2000 | 2000 | Philips lamp
28 |  | What is the average distance between canopy and lamp in the area? (inches) | 48 | 48 | This is an average of 3-4-5 ft placements
29 |  | What is the PPFD intensity on the canopy? (µmol) | 900 | 900 | see Gavita specs and lighting plans
LED LIGHTS - Comparison
|  | Question | Preliminary Answer | Confirmed Answer | Notes / Comments
| Veg Area |  |  |  | From Independence LED Lighting
1 |  | What is the estimated size of the area? (sq ft) | 25 | 16-60 | Tubes 5' in length add a pricey cost so it is better for us to be in lengths of either 4' or 8'
2 |  | How many fixtures are in the area? | 1 | 2017-01-02 | We have a 4x4, 4x6, and 4x8 fixture along with singular modular lights ranging in lengths from 2'-8'
3 |  | What brand and model of fixture are in the area? | Gavita 1000 DE | GS400, GS800, GS1250 | GS400 for 16 sq. ft., GS800 for 32 sq. ft. and GS1250 for 60 sq. ft
4 |  | What brand and model of lamp are in the area fixtures? | Gavita 1000W HPS | 400W-800W
5 |  | What is the nameplate wattage of the lamp? (W) | 1000
6 |  | What is the actual draw of the lamp? (W) | 1220 | 400, 800, 1250 | Dependent on LEDs being used
7 |  | What is the average hours per day the lamps are on in the area? | 18 | 16
8 |  | What is the average number of days / year that the lamps are on in the area? | 365 | 365
9 |  | What is the ambient temperature in the area? (degrees F) | 79 | 79 | subject to HVAC
10 |  | What is the standard # of hours that lamps run before changing? | 4000 | 100000
11 |  | What is the nameplate PPFD intensity? (µmol/sec) | 2000 | 250-440 | Dependent on distance from canopy
12 |  | What is the average distance between canopy and lamp in the area? (inches) | 36" | 8"-24" | Really dependent on what the growers want. Can't give a set answer on this, but it will change mmols
13 |  | What is the PPFD intensity on the canopy? (µmol) | 1000 | 1000
14
15
16 | Flower Area
17 |  | What is the estimated size of the area? (sq ft) | 25 | 32-60 | Tubes 5' in length add cost so it is better for to build lengths of 4', 6' or 8'
18 |  | How many fixtures are in the area? | 1 | 2017-01-02 | We have a 4x4, 4x6, and 4x8 fixture along with singular modular lights ranging in lengths from 2' to 8'
19 |  | What brand and model of fixture are in the area? | Gavita 1000 DE
20 |  | What brand and model of lamp are in the area fixtures? | Gavita 1000W HPS | GS1250
21 |  | What is the nameplate wattage of the lamp? (W) | 1000 | 1250
22 |  | What is the actual draw of the lamp? (W) | 1220 | 950-1250
23 |  | What is the average hours per day the lamps are on in the area? | 12 | 12
24 |  | What is the average number of days / year that the lamps are on in the area? | 330 | 365 | Dependent on what is growing. For cannabis, we mayrecommend a custom diode mix for the ripening stage after flowering which would include more UV light
25 |  | What is the ambient temperature in the area? (degrees F) | 79 | 79 | subject to HVAC
26 |  | What is the standard # of hours that lamps run before changing? | 4000 | 100000
27 |  | What is the nameplate PPFD intensity? (µmol/sec) | 2000 | 690
28 |  | What is the average distance between canopy and lamp in the area? (inches) | 48 | 2017-08-24
29 |  | What is the PPFD intensity on the canopy? (µmol) | 900 | 900

## Comparison Analysis
Grow Light Fixture Comparison Analysis | Provided by Independence LED Lighting: https://independenceled.com/led-grow-lights/
Total grow area sq ft of facility | 10000 | Adjust this to dynamically see the results for the whole facility
Grow area size (fixture):
Width (ft) | 6 | Adjust this to dynamically see the results
Length (ft) | 10 | Adjust this to dynamically see the results
Grow Operation Planting Area (sf) | 60 | This is calculated from above, and you can override it to see the results
Daily hours of illumination | 13.2
Annual days of illumination | 365
Annual hours of illumination | 4818
#of illumination hours for this comparison (based on life of LEDs) | 100000
#of illumination year for this comparison | 20.7555
Cost of Electricity (kWh) - US Average | 0.11
Hourly Rate to replace an HPS Bulb (maintenance rate) | 25
Amount of time needed to replace an HPS bulb in hours | 0.25
Labor cost to replace an HPS bulb | 6.25
Hourly Rate to replace a Luminaire (electrician) | 100
Amount of time needed to replace a Luminaire in hours | 1
Labor cost to replace a Luminaire | 100
Hourly Rate to raise a Luminaire as the plants grow (for LED as option relative to automated cables/hoists) | 25
Amount of time needed to raise a Luminaire in hours | 0.1
Labor cost to raise a Luminaire | 2.5
Notes:
The Coverage Area / Fixture data is from manufacturer specifications, but this calculator tool also allow you to compare the LED fixtures by normalizing the data and making all of the LED Watts / sf the same. A deeper analysis of micro moles (e.g.1425 umols/s or 2.08 umol/j) may also help corroborate the coverage area data.
Based on the note above to normalize the data, the coverage area factor in Watts / sf is: | 20.8333
Manufacturer | Gavita | Independence LED (MSRP) | Independence LED (Wholesale) | SPYDR (MSRP) | SPYDR (Wholesale) estimated and subject to volume
Model | Gavita 1000 DE (19" diameter) | GS-1250 (4' x 8' rack) | GS-1250 (4' x 8' rack) | Fluence SPYDRx Plus 685W (3.5' x 3.6') | Fluence SPYDRx Plus 685W (3.5' x 3.6')
Total Wattage / Fixture | 1220 | 1250 | 1250 | 685 | 685
Coverage Area / Fixture (sf) | 25 | 60 | 60 | 25 | 25
µmol/m²/s | 735.6 | 475 | 475 | 614 | 614
µmol/m²/s in relation to Independence LED | 154.9% |  |  | 129.3%
Watts / sf | 48.8 | 20.8333 | 20.8333 | 27.4 | 27.4
Luminaire Fixture Cost MSRP | 240 | 2500 | 2000 | 1500 | 1200
Luminaire Cost / watt | 0.19672 | 2 | 1.6 | 2.1898 | 1.7518
Luminaire Cost / sf | 9.6 | 41.6667 | 33.3333 | 60 | 48
Luminaire Hanging Cable/Hoist Cost / sf | 0 | 3.3333 | 3.3333 | 3.3333 | 3.3333
Useful Life of Luminaire (hours) | 3000 | 100000 | 100000 | 100000 | 100000
Number of life cycles within 100,000 hours | 33.3333 | 3 | 3 | 3 | 3
Bulb Replacement Cost (HPS) | 99 | 2500 | 2000 | 1500 | 1200
Cost of Replacement Luminaries/Bulbs within 100,000 hours | 3300 | 5000 | 4000 | 3000 | 2400
Annual Equipment Costs:
Annual Luminaire/Bulb Replacements / fixture | 1.606 | 0.04818 | 0.04818 | 0.04818 | 0.04818
Annual Luminaire/Bulb Replacement Cost / fixture | 158.994 | 120.45 | 96.36 | 72.27 | 57.816
Annual Luminaire/Bulb Replacement Labor / fixture | 10.0375 | 0 | 0 | 0 | 0
Annual Combined Luminaire/Bulb Replacement + Labor / fixture | 169.0315 | 120.45 | 96.36 | 72.27 | 57.816
Annual Combined Luminaire/Bulb Replacement + Labor / sf | 6.7613 | 2.0075 | 1.606 | 2.8908 | 2.3126
Annual Electricity Costs:
Annual kWh used / fixture (kWh) | 5877.96 | 6022.5 | 6022.5 | 3300.33 | 3300.33
Annual Cost of Electricity / fixture | 646.5756 | 662.475 | 662.475 | 363.0363 | 363.0363
Annual Cost of Electricity / fixture / sf | 25.863 | 11.0412 | 11.0412 | 14.5215 | 14.5215
Annual Cost of Electricity per 25 sq ft area to compare with benchmark HPS | 646.5756 | 276.0312 | 276.0312 | 363.0363 | 363.0363
Annual Labor Cost to "raise" LEDs weekly based on 1 touch per week | 0 | 130 | 130 | 130 | 130
Annual Cost to "raise" LEDs / sf | 0 | 2.1667 | 2.1667 | 5.2 | 5.2
Combined Annual Cost of Bulb Replacement + Electricity + Labor / sf | 32.6243 | 15.2154 | 14.8139 | 22.6123 | 22.0341
HVAC Impact:
LEDs run cooler, but the savings is subject to geography and Air Conditioning needs relative to outside temperatures.
Annual Combined Bulb Replacement + Electricity + Labor Cost for 25 sq ft area | 805.5696 | 526.4813 | 502.3913 | 565.3063 | 550.8523
TCO Analysis
The following are based on the Fixture Grow Area baseline 25 sq ft | 25
Initial Lighting Equipment Costs with Hoists | 240 | 1125 | 916.6667 | 1583.3333 | 1283.3333
Lighting: Total Cost of Ownership (TCO) 1st Year | 1055.6071 | 1505.3854 | 1287.0146 | 2148.6396 | 1834.1856
Lighting: Total Cost of Ownership (TCO) 5 Years | 4318.0355 | 3026.9271 | 2768.4062 | 4409.8648 | 4037.5948
Lighting: Total Cost of Ownership (TCO) 10 Years | 8396.071 | 4928.8542 | 4620.1458 | 7236.3963 | 6791.8563
Lighting: Total Cost of Ownership (TCO) 20 Years | 16552.142 | 8732.7083 | 8323.625 | 12889.4593 | 12300.3793
Average Annual TCO over 20 Years | 827.6071 | 436.6354 | 416.1812 | 644.473 | 615.019
WINNER lowest TCO and Highest Savings
Average Annual Savings relative to HBS for each HBS fixture |  | 390.9717 | 411.4258 | 183.1341 | 212.5881
TCO Analysis
The following are based on the Grow Operation Area (sf) | 60
Initial Lighting Equipment Costs with Hoists | 576 | 2700 | 2200 | 3800 | 3080
Lighting: Total Cost of Ownership (TCO) 1st Year | 2533.457 | 3612.925 | 3088.835 | 5156.7351 | 4402.0455
Lighting: Total Cost of Ownership (TCO) 5 Years | 10363.2852 | 7264.625 | 6644.175 | 10583.6756 | 9690.2276
savings of Independence LED in relation to HPS |  | 619.732
savings of Independence LED in relation to Fluence |  | 485.1205
Lighting: Total Cost of Ownership (TCO) 10 Years | 20150.5704 | 11829.25 | 11088.35 | 17367.3512 | 16300.4552
Lighting: Total Cost of Ownership (TCO) 20 Years | 39725.1408 | 20958.5 | 19976.7 | 30934.7024 | 29520.9104
Average Annual TCO over 20 Years | 1986.257 | 1047.925 | 998.835 | 1546.7351 | 1476.0455
WINNER lowest TCO and Highest Savings
20 Year Savings over HBS |  | 18766.6408 | 19748.4408 | 8790.4384 | 10204.2304
Average Annual Savings relative to HBS for this facility |  | 938.332 | 987.422 | 439.5219 | 510.2115
SUMMARY across the whole facility
Initial Cost of Lighting Equipment | 96000 | 416666.6667 | 333333.3333 | 600000 | 480000
Annual Lighting Electricity and Bulb Costs | 326242.84 | 130487.5 | 126472.5 | 174122.52 | 168340.92
10 year Lighting Electricity and Bulb Costs | 3262428.4 | 1304875 | 1264725 | 1741225.2 | 1683409.2
SUMMARY savings relative to traditional lights
Invest more upfront with LEDs than traditional lights: |  | 320666.6667 | 237333.3333 | 504000 | 384000
Save this much each year on operating costs: |  | 130487.5 | 126472.5 | 174122.52 | 168340.92
Save this much over the first 5 years: |  | 652437.5 | 632362.5 | 870612.6 | 841704.6
ROI Payback in Years: Initial Cost Delta between MH and LED / Annual Savings advantage with LED |  | 2.4575 | 1.8766 | 2.8945 | 2.2811
WINNER fastest payback
Source Links:
Gavita Bulb Cost | https://growershouse.com/gavita-master-plus-gpt-el-electronic-lamp
Independence LED | http://www.independenceled.com/pdfs/Independence-LED-Grow-System-GS1250-Flower-datasheet-1.25.17.pdf
SPYDR | https://growershouse.com/fluence-spydrx-plus-685w-led-grow-light